## Sheet1
Equipment category
0
19 | Power supply
21 | Scale [<20kg]
29 | Temperature sensors and gages
37 | Pressure sensors and gages
67 | Leak detectors
114 | Acquisition module
136 | Torque wrench
152 | Standard gages
159 | Ohmmeter
260 | Scale [>= 20kg]
312 | DAQ-Module
490 | DAQ
524 | CAN Interface device
548 | CAN AD Module
628 | Pressure sensor
677 | CAN Module
793 | CAN CNT Module
796 | CAN TH Module
827 | CAN TH MiniModule
833 | Connector accessory
840 | Multifonction test station
859 | Terminal Block
877 | Shunt
1015 | CAN interface device
1130 | SHED chamber
1139 | FID ppm C3H8
1141 | Pressure sensor Absolute
1142 | Pressure sensor relative
1149 | HFID ppmC
1155 | Gas flowmeter C4H10
1156 | Gas flowmeter N2
1157 | Gas flowmeter Air
1198 | Pressure gauge
2019 | DAQ-module
2268 | Load sensor - 1 kN
2270 | Speed sensor
2273 | Ball Mass
2308 | Soaking
2318 | Load sensor - 0,1 kN
2319 | Calibrated mass
2366 | Pressure sensor
2457 | Temperature sensor
2734 | Volumeter water
2735 | Volumeter glycol
2768 | Pressure regulator
2841 | Impulse Force Test Hammer
2842 | Frequency calibrator
2856 | Filter
2874 | calibration
3246 | Thermometer
3453 | Scale
4092 | Flowmeter
4098 | Thermocouple
4169 | Measuring chain