## Sheet1
Equipment category
0 | Multimeter
1 | Dynamometer [5 25Nm]
2 | Oscilloscope [70 Mhz]
3 | Power supply
19 | Pressure sensor [-1 +16 bar]
27 | Torque wrench
29 | Analog function generator
31 | Ohmmeter
34 | Gauge [0-300mm]
35 | Pressure gauge [-350 +350 mbar]
36 | Gauge [0-150mm]
38 | SHED chamber
39 | Leak detectors
41 | Climatic chamber >2m3
42 | Pressure sensor [-400 +400 mbar]
43 | Pressure sensor [-500 +500 mbar]
44 | Climatic chamber ATEX [+40°C]
47 | Climatic chamber ATEX [-40 +70°C]
49 | Pressure sensor [0 +100 mbar]
56 | Volumeter Petrol
57 | Volumeter Diesel
59 | LVDT sensor [0 +100mm]
89 | Pressure sensor [-300 +600 mbar]
94 | Thermocouple [K]
104 | Tensile machine
106 | Load sensor [0 10kN]
107 | Caliper [0 160 mm]
108 | Caliper [0 150 mm]
109 | DAQ-Module
113 | Load sensor [1 kN]
114 | Speed sensor
115 | Gauge [0 500 mm]
118 | Tensile Machine
119 | Temperature sensor [-40 +190°C]
124 | Pressure sensor [0 +250 mbar]
126 | Pressure sensor [-100 +200 mbar]
127 | Pressure sensor [0 +1 bar]
131 | Pressure sensor [0 +10 bar]
132 | Needle comparator [0 10 mm]
135 | Torque wrench [+40 +200 Nm]
141 | Pressure sensor [0 +70 mbar]
145 | Pressure sensor [-100 +100 mbar]
146 | Pressure gauge [0 +2,5 bar]
147 | Pressure sensor [0 +200 mbar]
148 | Pressure gauge [-1 +3 bar]
150 | Acquisition module
153 | Torque wrench [20 100 Nm]
154 | Gas flowmeter air
157 | Pressure gauge [0 +10 bar]
158 | Caliper [0 200 mm]
159 | Volumeter [Water]
160 | Pressure gauge [0 +600 mbar]
162 | Volumeter [Glycol]
163 | Pendulum Impact
166 | Dynamometer [0 5kN]
167 | Accelerometer
171 | Thickness gauge
173 | Gauge
174 | 3D Measurement Arm
175 | Mesure 3D
176 | Caliper [200 mm]
177 | Grit roughness
179 | Mass flow meter
184 | Pressure sensor [-200 +200 mbar]
185 | Caliper [0 500 mm]
199 | Climatic chamber <2m3
211 | Pressure gauge [+1 +3 bar]
218 | Indicator
220 | Pressure sensor [-200 200 mbar]
222 | Thermocouple [T]
238 | Acquisition unit
248 | Refractometer
255 | Scale [0 20 kg]